## Slide 1
LhARA pre-CDR Prep: Infrastructure, Integration & Safety
Galen Aymar
11 December 2019

## Slide 2: Outline
Status
Work needed for upcoming deadlines
  31 Jan 2020
  28 Feb 2020
Thoughts on R&D plan
Costing plan

## Slide 3: Status
Layout “v0” created using original estimates of machine configuration
Single laser room
In-vitro station above
In-vivo station on same floor
500 mm shielding placeholder
30 m x 14 m overall size

## Slide 4: Work to complete for 31 Jan 2020
Facility layout with updates
Laser
  Two laser rooms (source & target)
Beam Transport
  Updated FFA layout w/ injection/extraction
  Abort lines at 15 MeV and 127 MeV
  Location of rebunching cavities and collimators
  Power supplies for magnets
  Power supplies/klystrons for RF cavities
  Possible alternate layouts for solenoids?

## Slide 5: Work to complete for 31 Jan 2020
Facility layout with updates
End Station
  Insert first draft of in vitro end station
  Potential second in vitro end station
Radiation Shielding
  Updated shielding requirements throughout
Infrastructure
  Space as required for vacuum, plant, air conditioning
  Access for delivering equipment into and out of area

## Slide 6: Work to complete for 28 Feb 2020
Write-up for Infrastructure and Integration
Discussion of power supply requirements
Discussion of wall plug requirements (substations, 3-phase, etc.)
Review of options for cabling (cable runs, false floor, trenches, etc.)
Discussion of controls, monitoring and instrumentation
  Initial definition of requirements
  Comparison to system in FETS (Front End Test Stand) at STFC

## Slide 7: Work to complete for 28 Feb 2020
Write-up for Safety
Overview of STFC accelerator and laser safety codes to be used as reference (work with ISIS and CLF, respectively)
Demonstration of Risk Assessment methodology using the obvious risks for the laser and accelerator
Estimates of accelerator radiation based off of prior experience
Discussion of expected implementation of Construction Design Management (CDM) requirements

## Slide 8: Thoughts on R&D Plan
No issues

## Slide 9: Costing Plan
Combination of
Educated guess
Comparative (various STFC accelerator projects)
Parametric (£/m)
Quoted price estimates (lasers, end station equipment, etc.)
Concept stage budget estimates are typically +80%/-50%
Likely to focus on construction costs only, not operating costs

## Slide 10
Thank you