## Slide 1: WP5 Beamline Instrumentation
23/11/2021

## Slide 2
0-2 Year Plan
Deliverables
List of R&D requirements to enable development of monitors during years 3-5
Endstations designed for integration with beam line, monitoring systems and acoustic imaging with automated stages for cell irradiations
Wishlist/requirements from imaging group to study cellular level changes
Commisioned beamline for phase 2 experiments
3-5 Year Plan
Deliverable
Layout of Lhara beam delivery system with BPMs, magnets, dosimetry equipment locations identified and technology developed
Proven technology developed and tested which capable of monitoring Lhara beams on a pulse-by-pulse basis in real time with a plan for integration into the accelerator feedback
Demonstrate experiments using end stations including cells and dose monitoring from WP4
Cell imaging capabilities identified and room designed to encorporate these
UoB beam line development to enable a vertical beam line with chopped/pulsed beams
Identify Phase III requirements and technical challenges.

## Slide 3
Methodology (0-2 Years)
Assess current beam monitoring technology and identify the required R&D for Lhara beams
  SciWire 1D planes (JM)
  Gas profiler (CW)
  IRRAD BPM (FR et al @ CERN)
  Pot of money for emerging groups (UoB testing)
  Dosimetry such as alanine, calorimeters etc. (NPL/TP)
Design environmental end stations for cell irradiations and automated handling which allow hypoxia, gas changes, automation, integration with beamline, monitoring with ionacoustic imaging (JP)
Engage with Cell Imaging community to specify requirements on in vivo cell imaging via two workshops and a white paper (RFI)
Design and construct vertical beam line and beam delivery system for testing. Will require funding external to this proposal (TP/CW/TzW)

## Slide 4: Baseline monitor for HLLHC
Nozzle Chamber
Skimmer Assembly
Gas Separator
Skimmer Chamber
Third Skimmer
Imaging System
Interaction Chamber
Moveable Gauge Chamber
Dump Chamber
~3 m
“Gas jet monitor R&D is world leading” – CI SAC (2019)

## Slide 5: Functioning principle
Gas jet shaping
MCP
Phosphor screen
Detector
Ionization
Ion extraction
Visible light

## Slide 6: Different setups at the Cockcroft Institute
Monitor for keV beams
HLLHC prototype
HLLHC working instrument

## Slide 7: Gas jet monitor - overview
Design and first operation of a supersonic
gas jet-based beam profile monitor
V Tzoganis, H D Zhang, A Jeff and C P Welsch
Phys. Rev. Accel. Beams 20, 062801 (2017)

## Slide 8: Example measurement

## Slide 9: Simplified version (preliminary design)
Gas jet
Proton beam
Electrodes
MCP
Camera
Phosphor screen
High E-field

## Slide 10: IRRAD BPM
Used to monitor intensity and profile of pulses at the IRRAD irradiation facility at CERN
Relies upon secondary electron emission from a metal when proton beam is incident upon it
Readout of each channel via dedicated electronics

## Slide 11
Methodology (0-2 Years)
Assess current beam monitoring technology and identify the required R&D for Lhara beams
  SciWire 1D planes (JM)
  Gas profiler (CW)
  IRRAD BPM (FR et al @ CERN)
  Pot of money for emerging groups (UoB testing)
  Dosimetry such as alanine, calorimeters etc. (NPL/TP)
Design environmental end stations for cell irradiations and automated handling which allow hypoxia, gas changes, automation, integration with beamline, monitoring with ionacoustic imaging (JP)
Engage with Cell Imaging community to specify requirements on in vivo cell imaging via two workshops and a white paper (RFI)
  Potential of TP to apply for some funding through UoB to work with RFI
Design and construct vertical beam line and beam delivery system for testing. Will require funding external to this proposal (TP/CW/TzW)

## Slide 12: Beamline space

## Slide 13: Structure 2
- Quadrupole
- Dipole
3 m
1.36 m
2.86 m
2.6 m
5 m
Wall
Wall
Floor
Studies by CERN student Rasim Mamutov

## Slide 14: Particle tracking
 | E, MeV | mc, mev | rigidity, T*m | angle 30, rad | field integral, 30 deg | dipole length, m | dipole field, T | angle 60, rad | field integral 60 deg | beamline length, m | dipole length, m | dipole field, T
proton | 10 | 938.27 | 0.033356 | 0.52359 | 0.01746 | 0.5 | 0.034930 | 1.047197 | 0.034930 | ≈5 horiz + ≈2.6 vertical ±0.5 | 0.5 | 0.069861
alpha particle | 38 | 3727.38 | 0.063377 | 0.52359 | 0.03318 | 0.5 | 0.066368 | 1.047197 | 0.066368 | ≈5 horiz + ≈2.6 vertical ±0.5 | 0.5 | 0.132736
Initially normally distributed with sigma_x/y = 5 mm, relative px/py = 2.2e-3 and ∆p/p = 4.2e-3.
Studies by CERN student Rasim Mamutov

## Slide 15: Phase space
Phase space at different locations. 0/10 location stands for start/end.
Studies by CERN student Rasim Mamutov

## Slide 16: Particle tracking for the downwards beamline
Studies by CERN student Rasim Mamutov