In vitro end-station floor plan and equipment

List of equipment (+possible manufacturers/prices)

- Refrigerated centrifuge (x2)  - Eppendorf 5804R – £12,000

- Refrigerated ultracentrifuge - Beckman Coulter Optima MAX-XP – £50,000

- Hypoxia chamber - Baker InvivO2/Don Whitley – £40,000

- Ice Flaker machine - Scotsman AF80 – £2,500

- CellRad x-ray irradiator - Faxitron – £70,000

- Class II cell culture cabinet (x4) - Esco Airstream – £28,000

- Digital microscope - Invitrogen EVOS M5000 – £20,000

- Light microscopes (x3) - Nikon Eclipse TS100 – £9,000

- CO2 cell incubator (x2) - Panasonic – £14,000

- Fridges/-20°C Freezers (4 each) – £2,000

- -80°C Freezers (x2) - Panasonic – £20,000

- MilliQ water - Avidity 60L – £6,000

- Colony counter - Oxford Optronix GelCount – £25,000

- Fluorescence microscope/Live cell imaging - ?

- Robotic workstation – Tecan/Beckman – £200,000