JM 17/03/2022			Ion Acoustic Dose Mapping Meeting

Present:  Jeff Bamber, Ben Cox, HT Lau, Anthea MacIntosh-LaRocque, John Matheson

Discussion

Anthea showed the effect of changing the detector configuration. Ben commented that a bowl-shaped detector array can be simulated to cover a wide variety of configurations. Use of a bowl removes the artefacts which appear for a planar detector of finite size. Anthea will make sure the artefacts are explained in her report. The report was discussed and Anthea is aiming to include the effects of detector geometry and reconstruction algorithms, frequency spectrum at the detector, plus test for correct convergence. Report is due 10th May. Anthea is handing over to Maria, who has begun by installing k-Wave.

HT has added to the user interface easy ways to change the position of the scintillating planes along the proton track and alter the overall volume. Maria is looking at the code and will likely ask questions next week.

Ken is trying to get the Lab at Level 5 at IC up and running on an Easter timescale, with the aim of building a SmartPhantom test by summer.

Actions

John: talk to the ISIS and CLF people who are building scintillation detectors – so far swapped e-mails but aiming for a meeting

Emma, Ben, Jeff, John – refining the costings.

HT – write some detailed instructions for how to run the simulations.

John – talk to Ken and Dave Newbold re RAL costings.

Jeff – talk to Ken offline re proposal costings