JM 31/03/2022			Ion Acoustic Dose Mapping Meeting

Present: Jeff Bamber, John Matheson, Maria Maxouti

Discussion

Maria has been getting to grips with the simulations and is gaining confidence. She has identified that the conversion from energy deposited to pressure needed correction. Maria reports that Anthea has finished setting up the simulation of a bowl shaped detector.

Jeff would like to see the variation in frequency spectrum at the detector, as a function of detector position. This ultimately feeds into the transducer design and cost. It should be interesting to have transducers both beyond the Bragg peak and in front of the Bragg peak, to pick up the radial wave from the incoming beam track.

To avoid spatially averaging the signal, it would be useful to make the detector a single voxel in the first instance. Maria will check with Ben that he is happy with this approach.

Actions

Maria: look at frequency spectrum as a function of position for a detector of single voxel size, check with Ben that he agrees with this approach

John, Jeff: Meet later to discuss the costs in the Proposal