LhARA Ion-Acoustics Action List

|  | Action | Constraints | Action by | Due Date | Status |
| --- | --- | --- | --- | --- | --- |
| Liquid scintillator | Determine the scintillator’s attenuation length: scintillator attenuation as a function of wavelength | Need a visible wavelength spectrophotometer | Maria | 31/1/2024 |  |
|  | Measure the scintillator’s saturation as function of deposited energy | Need a known source of radiation (cyclotron) | Maria & Peter | 29/2/2024 |  |
|  | Determine camera sensitivity | Need calibrated light source at wavelength of scintillator emission | Peter | 29/2/2024 |  |
|  | Determine the effect on optical image of any in-tank acoustic sensors | Need information on dimensions and surface properties (reflectance/scatter) | Peter | 08/1/2024 |  |
|  | See if camera optical system needs/can be improved using commercially available lenses | Limited range of optical elements available | Peter | 31/3/2024 |  |
|  | Purchase another camera & extra optical components | - | Maria & Peter | 31/3/2024 |  |
| SciFi Frames | Manufacturing | Drill holes for resin | Maria | 31/1/2024 |  |
|  | Characterization | - | Maria | 09/2/2024 |  |
|  | Measure saturation as function of deposited energy | Need a known source of radiation (cyclotron) | Maria & Peter | 29/2/2024 |  |
| Transducer & Signal Detection | Choose single element transducer | - | Jeff & Ben | 08/1/2024 |  |
|  | Choose & obtain appropriate amplifier and electronics for the experiment | - | Jeff & Ben | 15/4/2024 |  |
|  | Signal enhancement: Investigate the use of microbubbles/India ink | - | All | 30/4/2024 |  |
| SmartPhantom | Investigate the effect of the water-Kapton-gel interface (experiment at ICR) | Need the Kapton window & holder | Maria & Jeff | 31/1/2024 |  |
|  | 3D-print the Kapton window holder | - | Oliver | 08/1/2024 |  |
|  | Transducer port diameter | - | Jeff & Ben | 08/1/2024 |  |
|  | 3D-print matrix & linear array casing | Need the matrix array at Imperial for scanning | Oliver & Jeff | 31/3/2024 |  |
|  | Manufacturing | Need information on the single-element transducer & transducer port diameter | Imperial Workshop | 31/3/2024 |  |
|  | Testing (photon & proton beam) | Cyclotron | All | 31/5/2024 |  |
| Simulation | Add electronic noise | - | Maria | 31/12/2023 |  |
|  | Repeat simulation with a 12 MeV proton beam | Find the necessary accelerator configuration | Maria & Ken | 31/1/2024 |  |
|  | Carry out time-segmented spectral analysis on the received signals (radial & on-axis direction), different bandwidths | Need information on how to do this | Maria | 29/2/2024 |  |
|  | Label the acoustic signal time waveforms with wave-arrival events | - | Maria | 31/1/2024 |  |
|  | Try using 3 (or more) orthogonal single-element transducers & determine what reconstruction we can get | - | Maria | 31/1/2024 |  |