## Slide 1
LION beamline
10 mm bore diameter
60.34 mm
55.77 mm
1728.59 mm
332 T/m
318.5 T/m
2x quadropole magnets for focusing
Kapton & aluminium foil
exit window
SmartPhantom
10 mm
20 mm
Collimator
Shielding
vacuum
air

## Slide 2: SmartPhantom
15 mm
Beam
110 mm
110 mm
110 mm
Aluminium
Kapton entry window
15 mm
Water
5 mm
Y
Z
X

## Slide 3: Transducers
?
Immersion transducer

## Slide 4: Current Design
Beam
Beam
Camera
Camera
Transducer ports
110 mm
110 mm
110 mm
Z
X
Y

## Slide 6: k-Wave Simulation
20 MeV

## Slide 7
Phantom:
Air-Kapton-Water entrance window
Aluminium walls
Matrix Array:
Center frequency: 3.5 MHz
Bandwidth: 60%: Gaussian filter
Distance from the entrance window: 54 mm 12 mm
Noise:
Electrons
Electronic noise, Gaussian filter, σ = 10%
k-Wave Simulation

## Slide 10: LION beamline: 12 MeV beam

## Slide 11: LION beamline 12 MeV beam

## Slide 12: LION beamline & Matrix Array
12 MeV
20 MeV