## Slide 1: Data Acquisition System for Munich
22/8/2024

## Slide 2: Data Acquisition System

## Slide 3: Trigger signal generation
Signal generator
3.3 V square pulse
Oscilloscope

## Slide 4: Reading through the picoscope
Signal generator
Picoscope
3.3 V square pulse

## Slide 5: Camera Triggering
Signal generator
BNC cable from signal generator
GPIO connector
Camera

## Slide 6: Action List
Cameras: Trigger doesn’t work: either hardware or software issue