## Slide 1: Simulation of LION Beam
Presenter: Calvin Dyson
Work in collaboration with Alfredo Fernadez Rodriguez, Xiangyi Chen, Zaynab Sadur and Nadirah Zakhir
Notes: Calvin Dyson

## Slide 2: LION Beamline
2
20MeV
20MeV
16MeV
12MeV
20MeV
20MeV
16MeV
12MeV

## Slide 3: Manually reproduce beam through shifts and tilts of the PMQs
FQ: x = +0.1mm, = +0.004 rad, = 0.004 rad, = -0.003 rad;
DQ: x = +0.1mm, = -0.004 rad, = 0.004 rad, = -0.003 rad
Simulation of 1x105 particles
Key Observations:
Vertical central line visible
Vertical, curved section of star-shaped arm can be seen in the simulation
3
LhARA Collaboration Meeting
Calvin Dyson - LhARA Collaboration Meeting
Log(energy deposited (MeV))
Energy deposited (MeV)

## Slide 4: Plan for Bayesian Optimisation
Define a metric - Normalised Cross Correlation
Expand the setup to include all four windows
Process the RCF so that it is suitable for optimisation

## Slide 5: Normalised Cross Correlation (NCC)
  Features
      Range of -1 to 1:
        • 1: Exact Match
        • -1: Exact Opposite
      Scale Invariant

## Slide 6: Expand to 4 windows
12MeV
16MeV
20MeV
20MeV
RCF in Holder
RCF in Scan

## Slide 7: Correct for displacement of RCF
Vertical and Rotational alignment
RCF in Holder
Aligning the RCF to Windows of Holder
RCF in Scan

## Slide 8: Correct displacement of RCF
Horizontal Alignment – Front Film
Alignment and Cutting of Front Film

## Slide 9: Correct displacement of RCF
Horizontal Alignment – Other Films
Cut Front Film vs Uncut Film
Aligned Film with Front Film
Example of Film 4

## Slide 10: Generating the film in simulation
Basic Principle
12MeV
16MeV
20MeV
20MeV
Response Curve for Second Film

## Slide 11: Generating the film in simulation
Chasing the split

## Slide 12: Generating the film in simulation
Geant4
TOPAS
LLO
(Response Function)
Chasing the split

## Slide 13: Testing the Optimisation
Key Results
Experimental Data
Tilt 1st PMQ about x-axis: 2mrad
Shift 1st PMQ in y: 200um

## Slide 14: Testing the Optimisation
Tilt
Experimental Data
Tilt 1st PMQ about x-axis: 2mrad
Shift 1st PMQ in y: 200um

## Slide 15: Correcting the Beamline
46.94mm
32.33mm
32.31mm
1705.75mm
32.33mm
32.31mm
1705.75mm
46.94mm
FQ
DQ
Circle 40mm diameter
RCF Stacks
RCF Stacks
DQ
FQ
334 T/m
Rectangular
80mm height
10mm width
Glass Collimator
Before
Now

## Slide 16: Default Beamline Result

## Slide 17: Optimised Result
1st Quad
About x:
344 urad
About y:
985 urad
About z:
-228 urad
2nd Quad
About x:
1995 urad
About y:
1264 urad
About z:
-250 urad

## Slide 18: Conclusions and Future
LhARA Linear Optics reproduces realistic effects in the beam due to PMQ offsets
Simulations indicate the star-shape effect is caused by tilting in the PMQs
      Other potential causes will be mentioned later
Optimisation reached a close representation of the beam
      The optimisation process can be refined further

## Slide 19: Thank you
Simulation of LION Beam
07/04/2025