## Slide 1: ITRF/LhARA Fortnightly meeting
2/7/2024

## Slide 2: SmartPhantom
Transducer window
Transducer window
Beam entry window
Scintillating fibre detectors
Scintillating fibre detectors
Beam entry window
Black
Kapton
Black
Kapton
Optical windows
Scintillating fibres
Resin

## Slide 3: MC40 Cyclotron Scintillating Fibre Detectors
Energy: 28 & 13.5 MeV
Current: 10 – 200 nA
SmartPhantom
Proton beam
CMOS
Camera

## Slide 4: MC40 Cyclotron Scintillating Fibre Detectors
Average Image
Background Corrected Average Image
28 MeV, 200 nA

## Slide 5: MC40 Cyclotron Scintillating Fibre Detectors
28 MeV, 200 nA
Pixel Intensity Histogram
Fibre Detection

## Slide 6: MC40 Cyclotron Scintillating Fibre Detectors
28 MeV, 200 nA
Central fibre

## Slide 7: MC40 Cyclotron Liquid Scintillator
2 mm thick quartz window on optics side
Cuvette
Beam
Cuvette
Lens
PN diode

## Slide 8: MC40 Cyclotron Liquid Scintillator

## Slide 9: MC40 Cyclotron Liquid Scintillator
28 MeV, 1000 nA, 2 mm collimator

## Slide 10: MC40 Cyclotron Liquid Scintillator
Beam
Bragg peak
Profile Plots

## Slide 11: MC40 Cyclotron Liquid Scintillator
Beam
Bragg peak
Surface Plots

## Slide 12: The Team
Beam
Bragg peak
Maria Maxouti
Ken Long
Peter Hobson
Tony Price
Catherine Burne
Cyclotron staff