## Slide 1: Update from SCAPA
Based on LhARA-TN-2025-05

## Slide 3: Setup 1
Laser-target set up “consistent” with 13 MeV endpoint

## Slide 4: Setup 1

## Slide 5: Initial RCF measurement
2025 June/July Pre-Poplar testing
Run-10, Shot-1, 1xAl Foil + 10 EBT3 stack
Placed after PMQ2 ~140 mm from front of PMQ2

## Slide 6: Initial RCF measurement @ 12 cm (RCF3)
With RCF stack at RCF3, found that maximum energy of beam was between 11.4 and 12.7 MeV

## Slide 7: Beam @ exit window (RCF4)
ds
Best transmission of
Gaussian energy spectrum
beam centred on 10MeV.
Spatial distribution indicated focus inside vacuum chamber

## Slide 8: Setup 2
Q1 5 mm closer to target

## Slide 9: z scan
Keep distance between quads fixed, scan position of Q1 (source to upstream surface) from 105 mm to 115 mm
Observation:
  “Cross” observed @ z = 105 mm; transition to “horizontal distribution” (with no vertical line) at z ~ 110 mm
Simulation:
  Trend seen in simulation in agreement with measurement
Lanex d/s of exit window Setup 1

## Slide 10: Conclusion
Great start!
Mis-alignment scan performed; broadly in line with simulation
Need to establish quantitative agreement between measurement and simulation