## Slide 1: RCF Calculations

## Slide 2: Method
Align film outline with blue square
Determine centre of film
Use to calculate position of cell dish

## Slide 3: Convert to Dose and Select ROI
)

## Slide 4: Metric Explanations

## Slide 5: Result for 10 Shot gold 4th film
Flatness in x: 20.9% Flatness in y: 18.6% CV: 15.6%

## Slide 6: Effect of Calibration

## Slide 7: Sensitivity of Flatness in Profile

## Slide 8: Conclusions
Fix the calibration
If we are to use Flatness need to clearly define and must remove the scratch marks from calculation
Need to fix the position of the RCF in the film better
Too much variability pixel to pixel/cell to cell?