## Slide 1: Radiobiology research at SCAPA - PoPLaR
Emma Melia
University of Birmingham
24.02.2026

## Slide 2
200
200
X-ray
Pre-plated
1Gy
800
800
2Gy
4Gy
Control
Horizontal
Control
(not mock IR)
Proton
Pre-plated
Vertical
Horizontal
Optimisation

## Slide 3
1ml + 6-well
0.5ml + Lid
No Media + Lid
0Gy
400
1ml + 6-well
0.5ml + Lid
No Media + Lid
1Gy
400
X-ray
Pre-plated
Vertical
Proton
Pre-plated
Vertical
Proton
Post-plated
Vertical
Optimisation

## Slide 4
250
500
1000
2000
Chart: FaDu
| 250 | 500
PE | 0.54267 | 0.53933
Chart: HeLa
| 250 | 500
PE | 0.566 | 0.581
07.11.2025
10 days post-seeding
SCAPA Dry Run
Prepared for irradiation (lids/holder)
Left vertically for 15-20min
Replated

## Slide 5
SCAPA Irradiation Plan
HeLa & FaDu
0Gy – 125, 250, 500
1Gy – 250, 500, 1000
2Gy – 500, 1000, 2000
4 Gy – 1000, 2000, 4000
HeLa
FaDu
(Fabbrizi, et al. 2025)
28MeV Proton Beam (MC-40 Cyclotron, Birmingham)
~5MeV
~23MeV
~5MeV
~23MeV
Day 1 – Dose titration 0, 1, 2, 4 Gy
Day 2 – Repeat
Day 3 – Determine shot-to-shot survival reproducibility (3x repeats of 2 Gy [4shots])

## Slide 6
SCAPA Irradiation Plates
Dose Titration
2Gy Shots

## Slide 7
 | 250 | 500 | 1000 | 2000 | Average
1Gy | 0.155857 | 0.187423 | 0.269889 | - | 0.20439
1Gy | 0.142047 | 0.181504 | 0.212084 | - | 0.178545
2Gy | - | 0.091739 | 0.118372 | - | 0.105055
4Gy | - | - | - | 0.12651 | 0.12651
Shots | Mean Dose (Gy) | 1sigma Min Dose (Gy) | 1sigma Max Dose (Gy)
4 | 2.28 | 1.42 | 3.14
7 | 3.99 | 2.79 | 5.19
14 | 7.97 | 6.07 | 9.87
19.11.2025
20.11.2025
(Fabbrizi, et al. 2025)
SCAPA FaDu Data…
Chart: 
| 0 | 2.2799999999999998 | 3.99 | 7.97
FaDu | 1 | 0.17833 | 0.097187 | 0.12651
 | 250 | 500 | 1000 | 2000 | Average
1Gy | - | 0.053505 | 0.276886 | - | 0.165195
2Gy | 0.080257 | 0.077582 | 0.117175 | 0.082263 | 0.089319
Average PE: ~33%
Average PE: ~12%

## Slide 8
Chart: 4 Shots (2.28Gy)
| Shot 1 | Shot 2 | Shot 3
2Gy | 0.1113 | 0.1159 | 0.13833
Shots | Mean Dose (Gy) | 1sigma Min Dose (Gy) | 1sigma Max Dose (Gy)
4 | 2.28 | 1.42 | 3.14
 | 500 | 1000 | 2000 | 4000 | Average
Shot 1 (2Gy) | 0.126174 | 0.111502 | 0.111796 | 0.095731 | 0.111301
Shot 2 (2Gy) | - | 0.173856 | 0.057952 | - | 0.115904
Shot 3 (2Gy) | 0.161385 | 0.126761 | 0.168721 | 0.096464 | 0.138333
21.11.2025
Average PE: ~11%
SCAPA FaDu Data…

## Slide 9
Discussion Points:
Uniform dose across the culture area
Reduce irradiation time: - 1 dish & 1 RCF - One set of dishes followed by one set of RCF separately - Reduce time between shots (risk some data not saving?) – currently working at 20sec
Once cells are trypsinised and counted, keep in the fridge rather than on ice?
Warm dishes during irradiation
Gas dishes during irradiation
Incubator monitoring – water, gas etc