## Slide 1: Automatic Features detection on 3D CT-Scans

## Slide 2
Phantoms

## Slide 3: Make use of intensity’s derivatives
Gradient norm

## Slide 4: Make use of intensity’s derivatives
Horizontal Derivative
Vertical Derivative

## Slide 5: Different algorithms
Otsu method
Canny edge detector
Find peaks combined with directional derivatives
Laplacian method
Others (statistical method)

## Slide 6: Canny edge detector and Otsu method
Two thresholds

## Slide 7: Canny edge detector and Otsu method
Non maximum suppression

## Slide 8: Canny edge detector and Otsu method
Hysteresis

## Slide 9: What is the difference between Canny and Otsu?
Canny
Otsu
Canny Algorithm uses arbitrary thresholds to classify pixels in three categories to then apply hysteresis.
Otsu uses a statistical (user independent) method to determine a single threshold.
This threshold is found by splitting pixels in two categories of intensity
The optimal division is the one that minimises the variance in each category

## Slide 10
Directional derivative
Find peaks
Find peaks

## Slide 11
Directional derivative
Hysteresis

## Slide 12
 |  |  |  |  |  |  | X
 |  |  |  |  |  |  | X
 |  |  |  |  |  | X | 
 |  |  |  |  |  | X | 
 |  |  |  |  | X |  | 
 |  |  |  | X |  |  | 
 |  | X | X |  |  |  | 
X | X |  |  |  |  |  | 
Border separation

## Slide 13
 |  |  |  |  |  |  | X
 |  |  |  |  |  |  | X
 |  |  |  |  |  | X | 
 |  |  |  |  |  | X | 
 |  |  |  |  | X |  | 
 |  | X | X |  |  |  | 
X | X |  |  |  |  |  | 
Border separation

## Slide 14
 |  |  |  |  |  |  | X
 |  |  |  |  |  |  | X
 |  |  |  |  |  | X | 
 |  |  |  |  |  | X | 
 |  |  |  |  | X |  | 
 |  | X | X |  |  |  | 
X | X |  |  |  |  |  | 
Border separation

## Slide 15
 |  |  |  |  |  |  | X
 |  |  |  |  |  |  | X
 |  |  |  |  |  | X | 
 |  |  |  |  |  | X | 
 |  | X |  |  |  |  | 
X | X |  |  |  |  |  | 
Border separation

## Slide 16
 |  |  |  |  |  |  | X
 |  |  |  |  |  |  | X
 |  |  |  |  |  | X | 
X | X |  |  |  |  |  | 
Border separation

## Slide 17
 |  |  |  |  |  |  | X
 |  |  |  |  |  |  | X
X |  |  |  |  |  |  | 
Border separation

## Slide 18
 |  |  |  |  |  |  | X
Border separation

## Slide 19
Border separation

## Slide 20
Recursive algorithm
Rewrite the algorithm in an iterative
Final version in C++ to compensate the complexity
Border separation

## Slide 21: Application to real 2D images/Pelvis
Canny

## Slide 22
Otsu
Application to real 2D images/Pelvis

## Slide 23
Otsu
Application to real 2D images/Head and Neck

## Slide 24
Otsu
Application to real 3D images/Pelvis

## Slide 25
Otsu
Application to real 3D images/Head and Neck

## Slide 26: Further work and Conclusion
Application of algorithms on small portion of the image to optimize parameters locally.
Remove high contrast features and re-apply Otsu multiple time.
Determine the parameters of the previous algorithm with machine learning.
Fully machine learning based method.
Require a big dataset and computing power.
Improvement on algorithms
Machine learning