Nuclear Medicine Lectures

Q & A sessions

Practical aspects of Radiopharmaceuticals

- Choice of radionuclide for gamma camera imaging (Tc-99m an ‘ideal’ radionuclide)

- Preparation of Tc-99m radiopharmaceutical

- Quality Control in radiopharmaceutical production.

- Attributes of radionuclides used in nuclear medicine

Presenter: Kuldip Nijran

Practical aspects gamma camera

- Gamma camera system performance parameters

- Choice of collimator

- Image artifacts

Presenter: Chloe Bowen

Practical aspects of SPECT

- Key SPECT acquisition parameters

- Quality control specific to SPECT system

- Attenuation Correction application- hybrid system (SPECT/CT)

- Clinical Application(DatScan study) and quantitation

Presenter: Laura Perry

Practical aspects of PET I

- The insides of an open PET/CT scanner

- How different PET/CT manufacturers differ in their choice of crystal selection

- The daily tests performed on a PET/CT scanner

- The most common tests used to commission and acceptance test a new PET/CT scanner

- The use of reconstruction algorithms for resolution recovery

- The ideal scintillator for Time of Flight PET

Presenter: Neva Patel

Practical Aspects of PET II

- How manufacturers explain the count-rate for their scanners (true, scatter and random coincidences)

- Different PET tracers and their uses in Clinical PET/CT Imaging. Why 18F-FDG is the most commonly used PET tracer

- How PET data is collected and visualised for interpretation

- The effect of attenuation correction on PET images, and how using motion during PET and CT affects the interpretation of PET

- Quantification of PET scans and patient preparation required prior to PET scanning

Presenter: Neva Patel