# Physics of Medical imaging and radiotherapy

## Lectures on magnetic resonance imaging

### Lecture 1: Introduction and foundations

Introduction:

Concept & history

Foundations:

Quantum-mechanical origin of net magnetisation

Derivation of Larmor equation

Rotation of net magnetisation

Free induction decay of net magnetisation

### Lecture 2: Basis of image creation in MRI

Generation of contrast; measurement of spin and lattice relaxation times

Spatial localisation; the application of magnetic-field gradients

Introduction to MRI pulse sequences

### Lecture 3: Artefacts in MRI

Artefacts and the pulse sequence

Aliasing, the wrap around artefact, and the Gibbs phenomenon

Motion artefacts

Chemical shift artefact

## Possible seminar topics

- Generation of contrast

Variety of pulse sequences; pros and cons

Resolution of neighbouring structures and associated artefacts

- Artefacts, recognition, and mitigation

One type of artefact in detail or several

Machine-generated artefacts (e.g. spikes in transmitter, noise in r/o)

- Technological innovation in MRI

Could be the drive to higher main field, coupling RF into scanner, reading out RF in antenna, topology of gradient coils, etc.  Anything to look at how the “magical technique” is implemented

## Possible project titles

- Detection of motion in MRI

- MR linac; the use of image guidance in radiotherapy

- Simulation of image generation and deconvolution