Gamma cameras, SPECT and PET

Lecture 1

Decay modes of radionuclides

Radioactive decay

Nuclear decay processes

Radionuclide selection for medical imaging

Gamma cameras

Collimator geometry

Lecture 2

Gamma camera spatial resolution

SPECT

PET

PET resolution

PET sensitivity

PET event types

PET systems/geometries

PET data acquisition

Seminar

Radionuclide production methods

SPECT reconstruction

SPECT attenuation correction

SPECT effect of scattering

PET corrections

US

Lecture 1

US sound waves in liquids and solids

Wave energy density, intensity and power

Acoustic impedance

Reflection at boundaries

Lecture 2

Scattering and attenuation of US

Basic US image formation

Axial resolution

Diag of US system

Seminar

Transducer design

Focal spot size for different geometries

Phased array imaging

Image artefacts