X-ray Section: Topic List and Teaching Method

Taught in lecture

Self-study and seminar

X-ray generation and imaging:

- X-ray tube structure

- Characteristic radiation

- Bremsstrahlung

- Effect of anode material, tube voltage, tube current and filtering on spectrum

- Imaging and image properties (e.g. geometry, spatial resolution, etc)

- Signal, noise and contrast

- Detectors (film, plate and solid-state)

X-ray-Tissue Interactions:

- Rayleigh scattering

- Photoelectric absorption and k-edge

- Compton scattering

- Scaling of interactions with energy

- Linear and mass attenuation coefficients and half value layer

- Absorption/interaction spectra of main tissue types

Improving Image Contrast

- Focussing cup, scattering grids, etc

- Contrast agents, digital subtraction

- Dual energy imaging

Computerised Tomography

- Linear projection data

- Coordinate (rotation) transform

- Central slice theorem, Radon transform and the sinogram

- Unfiltered inverse Fourier Transform reconstruction and motivate filtering

- Number of angular projection required (fully sampled)

- Filtered back-projection (inverse Radon transform) and filtering

- Artefacts and causes (e.g. under-sampled, misalignment, beam-hardening, etc)

- Fan-beam to parallel-beam transformation

- Geometry and acquisition procedure for X-ray CT technology